## stations
County | Site | ID | Site Lat | Site Long | Site Elev. (meters) | Site Elev. (feet) | commission date
Beaver | Beaver | 1191 | 38.273086° | -112.376978° | 3095 | 10153 | 2011-09-22
San Juan | Blanding | 1171 | 37.266654° | -109.607385° | 1339 | 4394 | 2010-08-15
San Juan | Bluff | 1161 | 37.600964° | -109.988591° | 1959 | 6426 | 2010-08-13
Piute | Cedar City | 1172 | 37.457234° | -113.224819° | 1554 | 5098 | 2010-08-04
Millard | Delta | 1150 | 39.387204° | -112.509445° | 1450 | 4758 | 2010-08-01
Tooele | Grantsville | 1192 | 40.636396° | -112.677388° | 1398 | 4588 | 2011-09-21
Daggett | Manila | 1193 | 40.922575° | -109.389856° | 1995 | 6545 | 2011-09-20
San Juan | Mexican Hat | 1173 | 37.250675° | -109.987679° | 1944 | 6377 | 2010-08-18
Wasatch | Midway | 1151 | 40.546702° | -111.413606° | 1755 | 5757 | 2010-07-22
Millard | Milford | 1167 | 38.594259° | -113.751140° | 1606 | 5269 | 2010-08-02
San Juan | Monticello | 1174 | 38.140178° | -109.616546° | 1532 | 5025 | 2010-08-14
Carbon | Price | 1181 | 39.608013° | -110.750752° | 1781 | 5842 | 2011-09-17
Wasatch | Provo | 1175 | 40.281545° | -111.239799° | 2381 | 7813 | 2010-07-31
San Juan | Spanish Valley | 1185 | 38.312941° | -109.853904° | 1915 | 6281 | 2011-09-18
Kane | Tropic | 1126 | 37.517414° | -111.977429° | 1796.796 | 5895 | 2009-07-13
Uintah | Vernal | 1194 | 40.134640° | -109.642893° | 1425 | 4675 | 2011-09-19

## sensors
UCRN Sensor Suite post-fall 2019
sensors/shields | elevation (m) | mount | method | resolution/accuracy | manufacturer, model
air temperature 1 | 1.5 | MetOne 076B 73008 | platinum resistance detector (PRT) class A | (+- 0.04% over full range (-60 to 300)) | Thermometrics PT1000
air temperature 2 | 1.5 | MetOne 076B 73008 | platinum resistance detector (PRT) class A | (+- 0.04% over full range (-60 to 300)) | Thermometrics PT1000
air temperature 3 | 1.5 | MetOne 076B 73008 | platinum resistance detector (PRT) class A | (+- 0.04% over full range (-60 to 300)) | Thermometrics PT1000
air temperature 4 | 1.5 | MetOne 076B 73008 | platinum resistance detector (PRT) class B | (+- 0.2 degrees C at 20 degrees C) | E+E EE08
relative humidity1 | 1.5 | MetOne 076B 73014 | capacitive polomer chip | (+- 2% at 0 to 90, +- 3% at 90 to 100) | E+E EE08
soil status | 0.05,0.2,0.5 | Acclima TDR-310H | time domain reflectometry | see manual | Acclima
aspirated radiation shield | 1.5 |  | for air temp sensors 1-3 | 97.1 CFM flow | MetOne 076B 73008
solar radiation | 3.5 |  | silicon chip pyranometer - heated | (< 5%) | Apogee SP-230
precipitation | 2.5 |  | weighing vibrating wire - heated inlet | (+- 0.1% over full scale) | Geonor T-200B
precipitation detection | 2.5 |  | capacitive board - heated |  | Vaisala DRD11A
barometric pressure | 1 | in enclosure | silicon capacitive sensing | (+-1.5 kPa) | Apogee SB-100
wind speed | 3 |  | 4-blade propeller | (+- 1%) | R.M. Young 05103
wind direction | 3 |  | vane | (+- 3%) | R.M. Young 05103
UCRN Sensor Suite pre-fall 2019
sensors/shields | elevation (m) | mount | method | resolution/accuracy | manufacturer, model
air temperature 1 | 1.5 | MetOne 076B 73008 | platinum resistance detector (PRT) class A | (+- 0.04% over full range (-60 to 300)) | Thermometrics PT1000
air temperature 2 | 1.5 | MetOne 076B 73008 | platinum resistance detector (PRT) class A | (+- 0.04% over full range (-60 to 300)) | Thermometrics PT1000
air temperature 3 | 1.5 | MetOne 076B 73008 | platinum resistance detector (PRT) class A | (+- 0.04% over full range (-60 to 300)) | Thermometrics PT1000
air temperature 4 | 1.5 | Apogee TS-100 | thermistor | (+- 0.1 degrees C above 0 degrees C) | Apogee ST-110
air temperature 5 | 1.5 | MetOne 076B 73008 | platinum resistance detector (PRT) class B | (+- 0.1 degrees C at 23 degrees C) | Rotronic HC2S3
air temperature 6 | 1.5 | Apogee TS-100 | platinum resistance detector (PRT) class B | (+- 0.2 degrees C at 20 degrees C) | E+E EE08
relative humidity1 | 1.5 | MetOne 076B 73008 | capacitive polomer chip | (+- 0.8% at 23 degrees C) | Rotronic HC2S3
relative humidity2 | 1.5 | Apogee TS-100 | capacitive polomer chip | (+- 2% at 0 to 90, +- 3% at 90 to 100) | E+E EE08
aspirated radiation shield | 1.5 |  | for air temp sensors 1-3 | 97.1 CFM flow | MetOne 076B 73008
aspirated radiation shield | 1.5 |  | for air temp sensors 4 % 5 and relative humidity | 6 m/s at full flow, half speed when solar < 100 w/m^2 | Apogee TS-100
solar radiation | 3.5 |  | silicon chip pyranometer - heated | (< 5%) | Apogee SP-230
precipitation | 2.5 |  | weighing vibrating wire - heated inlet | (+- 0.1% over full scale) | Geonor T-200B
precipitation detection | 2.5 |  | capacitive board - heated |  | Vaisala DRD11A
wind speed | 3 |  | 4-blade propeller | (+- 1%) | R.M. Young 05103
wind direction | 3 |  | vane | (+- 3%) | R.M. Young 05103

## output tables
table | variable | units | statistic | sensor/description
5-minute | datint | num | num | observation interval
3 second execution interval | netname | character | character | UCC network name
all time are MST | site | character | character | station location
| siteID | num | num | station ID
| timestamp | datetime | datetime | date and time (MST)
| PRT1 | °C | Avg | average air temperature from PRT1 in MetOne aspirated shield
| PRT2 | °C | Avg | average air temperature from PRT2 in MetOne aspirated shield
| PRT3 | °C | Avg | average air temperature from PRT3 in MetOne aspirated shield
| AirTPRT | °C | Avg | average air temperature from selected PRT in Met One shield
| EE8 | °C | Avg | average air temperature from EE8 probe
| RH | % | Smp | sampled RH at the 5-minute interval
| Td | °C | Avg | calculated average dew point temperature from EE08 sensor
| VW1 | frequency | Avg | last 1-minute average of vibrating wire1
| VW2 | frequency | Avg | last 1-minute average of vibrating wire2
| VW3 | frequency | Avg | last 1-minute average of vibrating wire3
| mm1 | mm | Avg | last 1-minute average of accumulated precipitation from vibrating wire1
| mm2 | mm | Avg | last 1-minute average of accumulated precipitation from vibrating wire2
| mm3 | mm | Avg | last 1-minute average of accumulated precipitation from vibrating wire3
| Precip_accum | mm | Tot | accumulated precipitation (running total)
| Precip5Min | mm | Tot | precip in last 5-minutes
| wet1 | mV | Min | minimum measurement from wetness sensor output 1 (on/off)
| precip inten | mV | Min | minimum measurement from wetness sensor output 2 (intensity)
| wetness | % | Tot | percent of 5 minutes wetness sensor is wet
| Solar | W/m^2 | Avg | average incoming (short wave) radiation from pyronometer
| WindS | m/s | Avg | average wind speed
| WindD | degrees | Avg | average wind direction
| WindS_Max | m/s | Max | maximum wind speed
| FANSP1 | rpm | Avg | average speed of MetOne fan 1
| FANSP2 | rpm | Avg | average speed of MetOne fan 2
| site_pressure | kPa | average | pressure
| sealevel_pressure | kPa | average | sea level corrected pressure
60-minute | variable | units | statistic | sensor/description
| datint | num | num | observation interval
| netname | num | num | UCC network name
| site | num | num | station location
| siteID | num | num | station ID
| timestamp | datetime | datetime | date and time (MST)
| AirT | °C | Avg | average air temperature from PRTs in Met One shield
| AirT_Mx | °C | Max | maximum 5 minute air temperature from PRTs in Met One shield
| AirT_Mn | °C | Min | minimum 5 minute air temperature from PRTs in Met One shield
| RH_Mx | % | Max | maximum relative humidity from PRTs in Met One shield
| RH_Mn | % | Min | maximum relative humidity from PRTs in Met One shield
| Td | °C | Avg | average dew point temperature from PRTs in Met One shield
| Td_Mx | °C | Max | maximum 5 minute dew point temperature from PRTs in Met One shield
| Td_Mn | °C | Min | minimum 5 minute dew point temperature from PRTs in Met One shield
| Solar | MJ/m^2 | Tot | total incoming (short wave) radiation from pyronometer
| WindS | m/s | Avg | average wind speed
| WindD | degrees | Avg | average wind direction
| WindS_Mx | m/s | Max | maximum wind gust
| wetness | % | Tot | percentage of the hour that wetness sensor detectected precipitation
| Precip_accum | mm | Tot | accumulated precipitation
| Precip | mm | Tot | hourly precipitation
| ETo | mm | Tot | hourly short reference ET from Etsz function
| ETr | mm | Tot | hourly tall reference ET from Etsz function
| PRT1_Std | °C | Std | standard deviation from PRT1
| PRT2_Std | °C | Std | standard deviation from PRT2
| PRT3_Std | °C | Std | standard deviation from PRT3
| StdPRT_Avg | °C | Std | standard deviation from 3 PRTs
| EE8T_Std | °C | Std | standard deviation from EE8 PRT
| GeonorInletT | °C | Max | maximum temperature of Geonor inlet
| HeaterTime | % | Tot | percent of time that the Geonor heater was on
| RefRes | mV | Avg | Average reference resistance
| DoorTime | % | Tot | percentage of time that the enclosure door was open
| Rso | MJ/m^2 | Smp | clear sky solar radiation from Etsz utility
| site_pressure | kPa | average | pressure
| sealevel_pressure | kPa | average | sea level corrected pressure
daily | variable | units | statistic | sensor/description
| datint | num | num | observation interval
| netname | num | num | UCC network name
| site | num | num | station location
| siteID | num | num | station ID
| timestamp | datetime | datetime | date and time (MST)
| AirT | °C | Avg | average air temperature from PRTs in Met One shield
| AirT_Mx | °C | Max | maximum 5 minute air temperature from PRTs in Met One shield
| AirT_Mn | °C | Min | minimum 5 minute air temperature from PRTs in Met One shield
| RH_Mx | % | Max | maximum relative humidity from PRTs in Met One shield
| RH_Mn | % | Min | maximum relative humidity from PRTs in Met One shield
| Td | °C | Avg | average dew point temperature from PRTs in Met One shield
| Td_Mx | °C | Max | maximum 5 minute dew point temperature from PRTs in Met One shield
| Td_Mn | °C | Min | minimum 5 minute dew point temperature from PRTs in Met One shield
| Solar | MJ/m^2 | Tot | total incoming (short wave) radiation from pyronometer
| WindS | m/s | Avg | average wind speed
| WindD | degrees | Avg | average wind direction
| WindS_Mx | m/s | Max | maximum wind gust
| wetness | % | Tot | percentage of the hour that wetness sensor detectected precipitation
| Precip | mm | Tot | daily precipitation
| ETo | mm | Tot | daily short reference ET from Etsz function
| ETr | mm | Tot | daily tall reference ET from Etsz function
| site_pressure | kPa | average | pressure
| sealevel_pressure | kPa | average | sea level corrected pressure

## soils
UCRN
60-minute | variable | units | depth (in) | sensor/description | frequency
| datint | num |  | observation interval
| netname | num |  | UCC network name
| site | num |  | station location
| siteID | num |  | station ID
| timestamp | datetime |  | date and time (MST)
| soilM2_ni | % | 2 | volumetric water content | sampled on the hour
| soilT2_ni | °C | 2 | soil temperature | sampled on the hour
| soilPer2_ni | dimensionless | 2 | soil permittivity | sampled on the hour
| soilEC2_ni | uS/cm | 2 | bulk electrical conductivity | sampled on the hour
| soilPWEC2_ni | uS/cm | 2 | soil pore water electrical conductivity | sampled on the hour
| soilM8_ni | % | 8 | volumetric water | sampled on the hour
| soilT8_ni | °C | 8 | soil temperature | sampled on the hour
| soiLPer8_ni | dimensionless | 8 | soil permittivity | sampled on the hour
| soilEC8_ni | uS/cm | 8 | bulk electrical conductivity | sampled on the hour
| soilPWEC8_ni | uS/cm | 8 | soil pore water electrical conductivity | sampled on the hour
| soilM20_ni | % | 20 | volumetric water content | sampled on the hour
| soilT20_ni | °C | 20 | soil temperature sampled | sampled on the hour
| soilPer20_ni | dimensionless | 20 | soil permittivity sampled | sampled on the hour
| soilEC20_ni | uS/cm | 20 | bulk electrical conductivity | sampled on the hour
| soilPWEC20_ni | uS/cm | 20 | soil pore water electrical conductivity | sampled on the hour
Soil variable nomenclature:
medium, parameter, depth, irrigated status
Example1: soilM2_ni is soil moisture, at 2” depth, from not irrigated soils
Example2: soilEC8_i is soil bulk electrical conductivity at 8” depth, from irrigated soils